METALLIC FOREIGN BODIES POLICY UPDATE

10/21/25

To:	Mercy and St. Luke’s Cedar Rapids, Affiliate Sites Radiology Department Managers and MRI Technologists

From:	Hannah Monahan MD, MRMD

Date:	10/21/2025

Policy:

Patients with a history of metallic foreign bodies confirmed with imaging (plain radiography or computed tomography) may only undergo MRI examination after thorough safety evaluation and clearance by a radiologist within Radiology Consultants of Iowa (RCI).

Currently, RCI radiologists are available for MRI safety evaluations 7:00 AM – 10:00 PM Monday through Friday and 7:00 AM – 6:30 PM Saturday and Sunday. If an MRI examination is requested outside of the established hours, the review will be performed promptly the following day.

Rationale: Given the risk of significant tissue injury and patient harm, a thorough safety review must be performed by a radiologist prior to MRI examination. Components of the review include:

- Metallic composition of the foreign body (ferromagnetic versus non-ferromagnetic)

- Size and shape of the foreign body.

- Length of time since implantation of the foreign body.

- Exact position of the foreign body in relation to anatomic structures (critical versus non-critical) as well as the density of the surrounding tissues (e.g. solid organ versus bone).

- The expected location of the foreign body in relation to the magnetic field and radiofrequency coil during the specific MRI examination.

Potential interactions between a metallic foreign body and the MRI environment include, but are not limited to:

- Radiofrequency heating of tissues surrounding the foreign body.

- The rotation of an object within the magnetic field (torque force).

- The displacement of an object within the magnetic field (translational force).

- The Lenz effect wherein conductive materials (ferrous and non-ferrous) can induce an electrical current when exposed to a changing magnetic field, which then creates a smaller magnetic field that opposes the initial magnetic field and can result in object movement.

- Significant metallic artifact obscuring the area of interest and limiting diagnostic quality of the examination.

It should be noted that approval of an MRI examination for a patient with a metallic foreign body does not imply absolute safety, but that the diagnostic benefits of MR imaging outweigh the potential risks described above.